HOST / CONTRACT EMPLOYER

ELECTRICAL HAZARD INFORMATION EXCHANGE

Template aligned to NFPA 70E Article 110 · 70eGuide.com

This exchange runs BOTH directions. The host employer informs the contractor of known hazards; the contractor informs the host of hazards it discovers and confirms its employees are qualified. Complete before mobilization. Both signatures required.

Section A — Parties and Scope

| Host employer |  | Site / address |  |
| --- | --- | --- | --- |
| Contract employer |  | Date of exchange |  |
| Scope of contracted work |  |  |  |
| Expected duration |  | Tier (sub of?) |  |

Section B — Host Employer Informs Contractor

The host employer shall inform the contract employer of known hazards related to the contractor's work, covered by the host's safety program.

| Information provided | Provided? | Reference / notes |
| --- | --- | --- |
| Known electrical hazards in the work area | ☐ Yes ☐ N/A |  |
| Single-line diagrams / panel schedules | ☐ Yes ☐ N/A |  |
| Arc flash study status and date of last update | ☐ Yes ☐ N/A |  |
| Equipment labels — present, legible, current | ☐ Yes ☐ N/A |  |
| Available fault current and clearing times | ☐ Yes ☐ N/A |  |
| Multiple / alternate sources, backfeed, cogeneration | ☐ Yes ☐ N/A |  |
| Equipment condition of maintenance history | ☐ Yes ☐ N/A |  |
| Site lockout/tagout procedure and lock protocol | ☐ Yes ☐ N/A |  |
| Energized work permit process and approver | ☐ Yes ☐ N/A |  |
| Site emergency response and rescue procedure | ☐ Yes ☐ N/A |  |
| Restricted areas and access control | ☐ Yes ☐ N/A |  |
| Host-required PPE beyond contractor standard | ☐ Yes ☐ N/A |  |

Section C — Contract Employer Informs Host

| Confirmation / disclosure | Confirmed? | Reference / notes |
| --- | --- | --- |
| Written Electrical Safety Program in place | ☐ Yes ☐ N/A |  |
| Employees qualified per NFPA 70E for assigned tasks | ☐ Yes ☐ N/A |  |
| Qualification records available on request | ☐ Yes ☐ N/A |  |
| Arc-rated PPE provided and appropriate to task | ☐ Yes ☐ N/A |  |
| Employees trained on host site-specific hazards | ☐ Yes ☐ N/A |  |
| Hazards discovered on site will be reported to host | ☐ Yes ☐ N/A |  |
| Contractor's own energized work permit process | ☐ Yes ☐ N/A |  |
| Emergency response trained personnel on site | ☐ Yes ☐ N/A |  |
| Additional-person (standby) staffing plan for permit work | ☐ Yes ☐ N/A |  |

Section D — Hazards Discovered During the Work

The contract employer shall report hazards discovered on site to the host employer. Log them here.

| Date | Hazard discovered | Reported to | Resolution |
| --- | --- | --- | --- |

Section E — Coordination Meeting

| Meeting date |  |
| --- | --- |
| Attendees |  |
| Agreed controls / conflicts resolved |  |

Section F — Signatures

| Role | Printed name | Signature | Date |
| --- | --- | --- | --- |
| Host employer representative |  |  |  |
| Contract employer representative |  |  |  |

Retain a signed copy at BOTH organizations. After an incident, OSHA can cite the creating, exposing, correcting, and controlling employers — this record is often the only evidence of which duties were discharged.

This template is provided as a starting point and must be adapted to your operations. NFPA 70E® is a registered trademark of the National Fire Protection Association. 70eGuide.com is not affiliated with or endorsed by the NFPA.

70eGuide.com · Dan Mercer, CSP